## Sheet1
ADDENDUM 4
ITB AP 51-19
Construct West Apron Expansion and Infrastructure at VPS
Date of Issue: | 2019-04-11
Bid Submittal Deadline: | 2019-04-17
This addendum includes an excel format bid schedule for the convenience of the contractors.

## Bid Schedule
Engineer's Estimate
Construct West Apron Expansion and Infrastructure at VPS
Destin - Fort Walton Beach Airport
Item No. | Spec. No. | Item Description | Quantity | Unit | Unit Price | Amount
1 | C-105 | Mobilization | 1 | LS |  | 0
2 | C-100 | Contractor Quality Control Program | 1 | LS |  | 0
3 | 01210-1 | Bid Allowance 1: For the purchase, delivery and installation of one new intercom system for the west gate, 2-360 degree security cameras mounted on light poles in the credit card parking lot and 2 -360 degree security cameras mounted on high mast light poles in the west apron expansion. Includes integration with Air Operations Center (AOC) communications and security system | 1 | LS | 25000 | 25000
4 | 01210-2 | Bid Allowance 2: For the purchase, delivery and installation of a flush station on the OCWS 20" water main as detailed in the plans. Includes 20" water line, fitings, valves and concrete pad. | 1 | LS | 50000 | 50000
5 | 01210-3 | Bid Allowance 3: For Okaloosa County Permit Fees | 1 | LS | 5000 | 5000
6 | 1510-1 | Engineer's Field Office | 1 | LS |  | 0
7 | 1510-2 | Temporary Covered Passenger Walkway | 1 | LS |  | 0
8 | 1720 | Project Record Documents | 1 | LS |  | 0
9 | S-140-1 | Full Depth Asphalt Pavement Removal | 9052 | SY |  | 0
10 | S-140-2 | Asphalt Surface Course Removal | 773 | SY |  | 0
11 | S-140-3 | Concrete Pavement Removal | 1510 | SY |  | 0
12 | S-140-4 | Remove 36" CMP Culvert | 1 | EA |  | 0
13 | S-140-5 | Remove Water Line Flush Facility, including 20” DIP Water Pipe with Stand Pipe, Concrete Box and Pad and Riprap Apron | 1 | LS |  | 0
14 | S-140-6 | Remove Chain Link Fence | 2306 | LF |  | 0
15 | S-140-7 | Remove Chain Link Fence Slide Gate and operator | 1 | EA |  | 0
16 | S-140-8 | Remove Sanitary Sewer Lift Station, including Valve Box and Control Panel | 1 | LS |  | 0
17 | S-140-9 | Remove Lav Cart Dump Facility, including Grinder Pump Station, Control Panel, Effluent Inlet Drain and Piping, and 2” Force main | 1 | LS |  | 0
18 | S-140-10 | Remove Sanitary Sewer Manhole | 2 |  |  | 0
19 | S-140-11 | Remove 2" PE Sanitary Sewer Force Main | 755 | LF |  | 0
20 | S-140-12 | Remove 6" PVC Sanitary Sewer Force Main | 749 | LF |  | 0
21 | S-140-13 | Remove 6" & 12” DIP Water Main | 1119 | LF |  | 0
22 | S-140-14 | Remove Existing Riprap | 1 | LS |  | 0
23 | S-140-15 | Remove Existing Aluminum Shed | 1 | LS |  | 0
24 | S-140-16 | Remove Existing Masonry Building with Canopy | 1 | LS |  | 0
25 | S-141 | Asphalt Pavement Milling | 11560 | SY |  | 0
26 | S-142 | Pavement Marking Removal | 405 | SF |  | 0
27 | P-151-1 | Clearing and Grubbing | 6 | AC |  | 0
28 | P-151-2 | Tree Removal | 21 | EA |  | 0
29 | P-152-1 | Unclassified Excavation | 16815 | CY |  | 0
30 | P-152-2 | Pre-Construction Survey of Phase 1 Limits of Grading | 1 | LS |  | 0
31 | P-154-1 | 6" Subbase Course | 39240 | SY |  | 0
32 | P-154-2 | Separation Geotextile | 27850 | SY |  | 0
33 | P-209-1/P-211-1 | Optional Base Course | 25904 | SY |  | 0
34 | P-209-2 | 6" Crushed Aggregate Base Course | 13337 | SY |  | 0
35 | P-209-3/P-211-2 | Separation Geotextile | 27580 | SY |  | 0
36 | P-304-1/P-306-1/ P-403-1 | Optional Stabilized Base Course for PCC Pavement | 12326 | SY |  | 0
37 | P-304-2/P-403-2 | Optional Stabilized Base Course for Asphalt Pavement | 13386 | SY |  | 0
38 | P-401 | Asphalt Surface Course | 3335 | TON |  | 0
39 | FDOT-334 | Type SP-12.5 Asphalt Surface Course | 2035 | TON |  | 0
40 | P-501-1 | 8” Concrete Pavement | 6180 | SY |  | 0
41 | P-501-2 | 15” Concrete Pavement | 6146 | SY |  | 0
42 | P-602 | Emulsified Asphalt Prime Coat | 9583 | GAL |  | 0
43 | P-603 | Emulsified Asphalt Tack Coat | 2681 | GAL |  | 0
44 | P-620-1 | Non-Reflective Pavement Markings | 12859 | SF |  | 0
45 | P-620-2 | Reflective Pavement Markings | 9911 | SF |  | 0
46 | P-620-3 | Reflective Pavement Markings (Red Paint) | 760 | SF |  | 0
47 | P-620-4 | Temporary Pavement Markings (Non-Reflective) | 3788 | SF |  | 0
48 | F-162-1 | Chain Link Fence | 2133 | LF |  | 0
49 | F-162-2 | Install High Density Polyethylene Slats in Existing Chain Link Fence | 210 | LF |  | 0
50 | F-162-3 | Temporary Chain Link Fence | 2948 | LF |  | 0
51 | F-162-4 | Double Swing Gate (15' Opening) | 4 | EA |  | 0
52 | F-165-1 | Cantilever Slide Gate (15' Opening) | 1 | EA |  | 0
53 | F-165-2 | Cantilever Slide Gate (26' Opening) | 1 | EA |  | 0
54 | F-166-1 | Linear Induction Slide Gate Operator | 1 | EA |  | 0
55 | F-166-2 | Relocation of Existing Gate Electrical Equipment | 1 | LS |  | 0
56 | D-701-1 | 12 inch Class III RCP | 33 | LF |  | 0
57 | D-701-2 | 12 inch Class V RCP | 68 | LF |  | 0
58 | D-701-3 | 12 inch DIP | 85 | LF |  | 0
59 | D-701-4 | 12 inch DIP in Existing PCC Pavement | 62 | LF |  | 0
60 | D-701-5 | 18 inch Class III RCP | 534 | LF |  | 0
61 | D-701-6 | 18 inch Class V RCP | 283 | LF |  | 0
62 | D-701-7 | 24 inch Class III RCP | 546 | LF |  | 0
63 | D-701-8 | 24 inch Class V RCP | 107 | LF |  | 0
64 | D-701-9 | 30 inch Class V RCP | 391 | LF |  | 0
65 | D-701-10 | 36 inch Class V RCP | 306 | LF |  | 0
66 | D-701-11 | 42 inch Class V RCP | 153 | LF |  | 0
67 | D-701-12 | 54 inch Class IIII RCP | 234 | LF |  | 0
68 | D-751-1 | Type C Inlet | 9 | EA |  | 0
69 | D-751-2 | Type D Inlet | 1 | EA |  | 0
70 | D-751-3 | Type 4 Airfield Inlet | 1 | EA |  | 0
71 | D-751-4 | Trench Drain in Existing PCC Pavement | 20 | LF |  | 0
72 | D-751-5 | Airfield Trench Drain | 551 | LF |  | 0
73 | D-751-6 | Airfield Trench Drain Inlet | 6 | EA |  | 0
74 | D-751-7 | Airfield Storm Drain Manhole | 6 | EA |  | 0
75 | D-751-8 | Standard Storm Drain Manhole | 3 | EA |  | 0
76 | D-751-9 | MES (4:1) for 24 inch RCP | 1 | EA |  | 0
77 | D-751-10 | Concrete Flared End Section for 54" RCP | 1 | EA |  | 0
78 | D-751-11 | 15" Flap Gate Installed in Drainage Structure | 1 | EA |  | 0
79 | D-751-12 | 24" Flap Gate Installed in Drainage Structure | 1 | EA |  | 0
80 | D-751-13 | 36" Flap Gate Installed in Drainage Structure | 1 | EA |  | 0
81 | D-751-14 | 42" Flap Gate Installed in Drainage Structure | 1 | EA |  | 0
82 | D-751-15 | Conc. Box and Pad for Water Main Flush Station | 1 | LS |  | 0
83 | FDOT-520 | Concrete Curb, Type D | 2938 | LF |  | 0
84 | FDOT-522 | 4" Concrete Sidewalk | 347 | SY |  | 0
85 | FDOT-530 | Rubble Riprap | 342 | SY |  | 0
86 | FDOT-570-1 | Sodding | 2377 | SY |  | 0
87 | FDOT-570-2 | Performance Turf | 13180 | SY |  | 0
88 | FDOT-700-1 | Stop Sign and Post | 6 | EA |  | 0
89 | FDOT-700-2 | 18"x24" Sign Panel Mounted on Light Pole or Column | 24 | EA |  | 0
90 | FDOT-700-3 | ADA Single Face Accessible Parking Space Sign | 2 | EA |  | 0
91 | FDOT-700-4 | ADA Double Face Accessible Parking Space Sign | 2 | EA |  | 0
92 |  | Bollards | 6 | EA |  | 0
93 | T-905 | Topsoil | 4862 | CY |  | 0
94 | 02606-1 | Standard Sanitary Sewer Manhole | 3 | EA |  | 0
95 | 02606-2 | Aircraft Rated Sanitary Sewer Manhole | 3 | EA |  | 0
96 |  | Lavatory Cart Dump Station Inlet, including concrete apron and 6" PVC Riser and Fittings | 2 | LS |  | 0
97 | 15051-1 | 8" PVC Gravity Sanitary Sewer Pipe | 1188 | LF |  | 0
98 | 15051-2 | 2” PVC Force Main | 80 | LF |  | 0
99 | 15051-3 | 6” PVC Force Main | 125 | LF |  | 0
100 | 15051-4 | 6” PVC Water Main | 94 | LF |  | 0
101 | 15051-5 | 12” PVC Water Main | 1275 | LF |  | 0
102 | 15051-6 | 1" Polyethylene (HDPE) Tubing | 260 | LF |  | 0
103 | 15100-1 | Fire Hydrant & Gate Valve Assembly | 2 | EA |  | 0
104 | 15100-2 | Hose Bib Assembly to include concrete filled steel bollard pipe, water line riser pipe, hose rack and painting of the base post, complete and in place | 2 | EA |  | 0
105 | 15100-3 | 6" Gate Valve | 1 | EA |  | 0
106 | 15100-4 | 12" Gate Valve | 3 | EA |  | 0
107 | 32 33 17 | Wastewater Lift Station | 1 | LS |  | 0
108 |  | Pre- Emergent Herbicide-2 applications & spot spray (mulch areas) | 1 | LS |  | 0
109 |  | Directional Bore- 4" | 96 | LF |  | 0
110 |  | Directional Bore- 6" | 48 | LF |  | 0
111 |  | Sch 40 PVC Sleeving | 770 | LF |  | 0
112 |  | Irrigation 3" RPZ Backflow w/Cover, Ball & Master Valves, POC, Etc. | 1 | LS |  | 0
113 |  | Irrigation- Hunter Pro-C 12 Station Controller | 1 | LS |  | 0
114 |  | Irrigation Zones- ICV Valve, Wiring, Pipe, Heads, Fittings, Etc. | 11 | EA |  | 0
115 |  | Tree - October Glory Maple 45 Gal. 10'-12' Ht. (includes staking) | 8 | EA |  | 0
116 |  | Tree- Duraheat River Birch 45 Gal. 10'-12' Ht. (includes staking) | 11 | EA |  | 0
117 |  | Tree- Little Gem Magnolia 45 Gal. 7'-8' Ht. (includes staking) | 9 | EA |  | 0
118 |  | Tree- Sand Live Oak 2" Cal min. 11'-12' Ht. (includes staking) | 29 | EA |  | 0
119 |  | Tree- Shumard Oak 3" Cal. Min. 12'-14' Ht. (includes staking) | 6 | EA |  | 0
120 |  | Centipede Sod- labor & material- irrigated areas per plan | 42044 | SF |  | 0
121 |  | Centipede Sod Unit Price- for additional disturbed areas if requested | 1 | SF |  | 0
122 |  | Pinestraw Mulch for Tree Circles | 1 | LS |  | 0
123 |  | Hardscape- Fido & Me Fountain Ultrasite-PBARK-498 w/ Labor | 1 | EA |  | 0
124 |  | Hardscape-6 Ft. Bench Ultrasite-PBARK-940S-P6 w/ Labor | 2 | EA |  | 0
125 |  | Hardscape- Trash Receptacle Ultrasite PL-32, FTR-32-08, IG KIT | 2 | EA |  | 0
126 |  | Hardscape- Pet Waste Station Ultrasite PBARK-488, IG KIT w/ Labor | 1 | EA |  | 0
127 |  | Hardscape- 8'x8' Cantilevered Umbrella Ultrashade M-Shade w/ Labor | 1 | EA |  | 0
128 |  | Hardscape- "Pet Relief Area" Post Sign 5'-6' O.A. Ht. w/ Labor | 2 | EA |  | 0
129 |  | Maintenance- 1 Year Maintenance & Warranty | 1 | LS |  | 0
130 |  | Covered Walkway (Includes Canopy Structure, Foundations and 4" Sidewalk) | 1 | LS |  | 0
131 |  | Bus Shelter (Inlcuding 4" Sidewalk) | 2 | LS |  | 0
132 | L-105-1 | Electrical Demolition | 1 | LS |  | 0
133 | L-108-1 | Cable - L-824 5kV, #8 AWG Type C | 2640 | LF |  | 0
134 | L-108-2 | Counterpoise with Conduit/Duct | 1305 | LF |  | 0
135 | L-110-1 | 1W-2" PVC Direct-Bury | 490 | LF |  | 0
136 | L-110-2 | 1W-2" PVC Concrete-Encased | 815 | LF |  | 0
137 | L-125-1 | High Mast Light Pole & Foundation | 6 | EA |  | 0
138 | L-125-2 | High Mast Fixture | 12 | EA |  | 0
139 | L-125-3 | Elevated LED MITLs | 6 | EA |  | 0
140 | L-260521 | Panelboard Modifications | 1 | LS |  | 0
141 | L-260521 | GSE Rack & Power Center | 1 | LS |  | 0
142 | L-260521 | Fiber Optic Cable | 330 | LF |  | 0
143 | L-260521 | Cat-6 Cable | 140 | LF |  | 0
144 | L-260521 | 2-#12 AWG THWN-2, W/G | 660 | LF |  | 0
145 | L-260521 | 2-#10 AWG THWN-2, W/G | 6090 | LF |  | 0
146 | L-260521 | #10 AWG GND | 230 | LF |  | 0
147 | L-260521 | #6 AWG THWN-2 | 460 | LF |  | 0
148 | L-260521 | #2 AWG THWN-2 | 2100 | LF |  | 0
149 | L-260521 | #2 AWG GND | 50 | LF |  | 0
150 | L-260521 | #1 AWG THWN-2 | 4960 | LF |  | 0
151 | L-260521 | #1 AWG GND | 1240 | LF |  | 0
152 | L-260521 | 3/4" PVC in Canopy Structure | 500 | LF |  | 0
153 | L-260541 | 1" PVC CE Under Pavement | 3820 | LF |  | 0
154 | L-260541 | 1" PVC DB in Soil | 2020 | LF |  | 0
155 | L-260541 | 2" PVC DB in Soil | 180 | LF |  | 0
156 | L-260541 | 2-1/2" PVC DB in Soil | 1250 | LF |  | 0
157 | L-260541 | Handholes | 19 | EA |  | 0
158 | L-265600 | Parking Fixture, Pole and Foundation | 34 | EA |  | 0
159 | L-265600 | Wall-Mount, Bus Stations | 4 | EA |  | 0
160 | L-265600 | Canopy Lights | 26 | EA |  | 0
161 | L-330523 | Directional Bore, 1W-2"dia. | 650 | LF |  | 0
162 | L-330523 | Directional Bore, 2W-2"dia. | 290 | LF |  | 0
[5 empty] | TOTAL= | 80000